## Prelim Submission Reqt's
03/2013 |  |  | page 1 of 2 | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
APPROVAL OF PRELIMINARY PLANS
Capital construction projects submitted to the Office of Facilities Planning are classified as Type A or Type B:
Type A projects encompass reconstruction projects and include work to be done in or on an existing building--such as roofing, boiler replacement, or asbestos abatement. Preliminary plans (or submissions) are not required for Type A projects.
Type B projects involve the construction of new space (i.e., an addition to an existing building or the construction of a new building) and the acquisition of existing facilities not currently owned by the district. Preliminary submissions are usually required for Type B projects. This is stated in the initial response letter sent to the district upon receipt of an LOI (Letter Of Intent) form.
Each Type B project must satisfy all of the State Environmental Quality Review Act (SEQRA) procedures before preliminary plans will be accepted and reviewed by the Office of Facilities Planning. Typically, preliminary plans are submitted for review and approval prior to presenting a bond proposition to the voters. In this way, there should be a "meeting of the minds" between the district and the Project Manager in the Office of Facilities Planning regarding anticipated Building Aid Units (previously referred to as "State-rated capacity") for the project. These Building Aid Units (BAUs) can then be used to determine maximum cost allowances. In addition, after obtaining preliminary approval, the district can inform the voters that the project has been conceptually approved by our office and to what extent it will be eligible for Building Aid.
When a proposed project involves a new school or a significant addition to an existing instructional facility (i.e., more than 10,000 square feet of new space) a complete preliminary submission is usually required. The proposed project would then be reviewed and approved by both the Project Manager and an architect in the Office of Facilities Planning. A complete preliminary submission would include the following exhibits:
1) | One completed copy of an Application for Examination and Approval of Preliminary Plans, form FP-P. The district's architect or engineer of record, the President of the Board of Education, the Superintendent of Schools, and, if the district is a dependent district, the District Superintendent, must sign and date the form.
2) | One completed copy of an Evaluation of Existing Building, form EEB. The district's architect or engineer of record shall complete this form if the project involves an existing instructional building. (NOTE: This form is not required for projects in the Big Five cities). If the last question on the back of the form cannot be answered "Yes," then the Superintendent of Schools must also submit a letter specifying how and when each nonconformance will be corrected.
3) | One set of schematic, Preliminary Plans for the whole building involved in the project showing how the building will be used at the completion of the project. Plans should be at a scale which is clearly legible and must show all floors, including the basement, as well as corridors, stairs, ramps, smoke zones, door opening swings, and windows. Designate the square footage and use of each space, the gross square footage of the total building and clearly indicate the area encompassing new space versus the existing space.
4) | One site plan inclusive of the entire site, denoting walks, roads, parking areas (including accessibility), site features (streams, slopes, etc.), utilities (electric, sewer, septic, water, gas, etc.), site development areas (athletic fields, etc.), and the footprint outline of all structures already on the site or to be constructed on the site (storage sheds, etc.).
5) | One copy of a Facilities Needs Assessment Summary with appropriate enrollment projections. (Note: A description of what is required for this summary may be found at our web site under "Forms and Publications.")
6) | One set of Outline Specifications. An explanation of what we want in terms of outline specifications is included in the response letter to the district when the project is established.
10/2011 |  |  | page 2 of 2 | page 1 of 2
7) | Three copies of a completed Application for Examination and Approval of a School Site, form FP-S, when required. If the project includes the acquisition of new site or expansion of an existing site, then this form must be submitted prior to or along with the rest of the preliminary submission documents. (Note that a small plan of the site must either be on or attached to this form. A narrative description of the site must also be on or attached to the application.) The President of the Board of Education, the Superintendent of Schools, and, if the district is a dependent district, the District Superintendent, must sign the form.
8) | A formal site variance request, when required. The format for this variance request is available on our web site (www.p12.nysed.gov/facplan/). We would prefer that you submit this request well in advance of the preliminary submission but, if necessary, we will accept this request as part of the preliminary submission documents.
9) | One completed copy of the Instructional Space Review Form. This form must be signed by the Superintendent of Schools, the District Superintendent, and the Regional Associate for Special Education. The number of special education classrooms indicated on page 2 of this form for both the existing building and the proposed new space should include special education classrooms needed for both the school district and the BOCES. In addition, the numbers of classrooms indicated must agree with the preliminary and final floor plans.
10) | One copy of form FP-SP – Scope of Proposed Project.
11) | One copy of the Lead Agency’s SEQR Determination (Negative Declaration or Statement of Findings, as appropriate).
12) | Copy of appropriate State Historic Preservation Office (SHPO) correspondence.
13) | If district is subject to reorganization, submit one copy of Application for Apportionment of Building Aid, form FP-AP.
Upon completion of a formal review and approval by both a Project Manager and an architect, a Notice of Approval of Preliminary Plans will be sent to the district. This notice would include the Building Aid Units to be used for the project as well as any educational or construction/mechanical exceptions that would have to be corrected in the final submission documents.
At certain times the Office of Facilities Planning is overwhelmed with project submissions and may suspend the formal review of preliminary plans for projects that involve rather small additions. Since the preliminary plan review is not a legal requirement but is a requirement established by the Department, the need for a preliminary submission can be waived at the discretion of the Project Manager or the Coordinator of the Office of Facilities Planning. However, a complete preliminary submittal and a formal review will most likely be required for new schools or very large additions to existing schools.
Although formal approval of preliminary plans is generally not needed for minor addition projects and a complete preliminary submission may be waived, the Project Manager will probably still need some basic information in order to calculate the Building Aid Units for a project involving the construction of any new instructional space. This information would include floor plans, enrollment projections, a Facilities Needs Assessment Summary, and a completed Instructional Space Review form. Furthermore, there are also some projects that would benefit from an informal review of preliminary plans by an architect in the Office of Facilities Planning when certain types of work are involved, such as fire and smoke door installations, connecting links between buildings, subdivision of rooms, and modifications to accommodate the disabled. District personnel and/or their architects and engineers are encouraged to take the initiative and contact the Office of Facilities Planning to discuss such projects.
The best time to submit preliminary plans is early in the process of planning the project. The Project Manager needs as much lead-time as possible to calculate the Building Aid Units. The district should be sure that the preliminary submission is sent to the Project Manager as soon as the final decision is made on what may be built, and well before the date when the district plans to put the resolution before the voters. This may be a year or more prior to when the final plans and specifications will be submitted for the project. However, it is important to keep in mind the fact that the Project Manager does not have time to do multiple preliminary reviews of the same project, so the preliminary should only be sent when the district has decided what they actually plan to put before the voters.
Finally, please remember to put the district's name, the building's name, and the 15-digit project control number on every document submitted to the Office of Facilities Planning. Feel free to contact your assigned Project Manager if you have any questions about these procedures.

## Facility Needs Assessment
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Fax (518) 486-5918
www.p12.nysed.gov/facplan/
FACILITY NEEDS ASSESSMENT SUMMARY
(A New Requirement for Preliminary Submissions involving New Educational Space)
June 20, 1998
The Office of Facilities Planning has streamlined certain procedures in order to shorten the time for review and approval of projects. When a school district is proposing to create additional educational space in the form of a new school building or an addition to an existing building, a preliminary submission is required. The requirements for a preliminary submission of such a project remain the same except for the requirement for submitting an updated copy of the district's Long Range Facilities Plan and Educational Specifications. (Please note that in compliance with Section 155.1 of the Commissioner's Regulations, the district must still maintain this Long Range Plan and update it annually.)
The Long Range Plan (LRP) is a multipurpose document that has proven to be a valuable tool for districts to use in planning for the future by assessing enrollment projections, evaluating the district's grade organization, reviewing the use of existing buildings, evaluating the need for replacing obsolete and/or aging facilities, and determining the need for additional facilities.
When a district decides to add new or expand existing educational facilities, it is incumbent upon the district to justify the proposed new educational space. There are two major reasons for to adding new educational space: 1) increasing enrollments, and/or 2) expansion of educational programs. The LRP includes enrollment projections. These projections often appear to indicate that new educational space is required but are not always a sufficient factor to justify such additional educational space.
It has become increasingly evident that the LRP is an important document in determining the need for additional space, but at times additional information is needed to justify an addition or new building. The Office of Facilities Planning will now require districts to include a FACILITIES NEEDS ASSESSMENT SUMMARY as part of the preliminary submission in lieu of the LRP itself. The format for the FACILITIES NEEDS ASSESSMENT SUMMARY is as follows:
1) | Will be in narrative form.
2) | Should be no longer than 3-5 pages.
3) | Will include enrollment projections and clearly describe the impact of those projections on the need for new space.
4) | Will clearly explain how program changes will impact the need for new space.
5) | Will explain how Special Education Program needs will impact the proposed project.
Please note that there is no actual form for this document--simply follow the requirements outlined above. If additional spaces are not justified in the FACILITIES NEEDS ASSESSMENT SUMMARY, they will not be eligible for Building Aid. The district must be able to clearly explain the need for any proposed new space. Furthermore, although we are no longer requiring that a copy of the LRP be submitted as part of the preliminary submissions, the Project Manager may, at his/her discretion, request that a copy of the entire LRP be submitted along with the SUMMARY.

## FP-P-CL Checklist
FP-P-CL 05/2012 | [27 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Fax (518) 486-5918
www.p12.nysed.gov/facplan/
CHECKLIST for
APPLICATION FOR EXAMINATION and
APPROVAL OF PRELIMINARY PLANS
Execute and submit one copy of the form to this office with each submission.
| Name of District: | [5 empty] | SED Project Control # | [12 empty] | Project #
[9 empty] | 6 | 6 | 6 | 6 | 6 | 6 |  | 6 | 6 | - | 6 |  | 6 | 6 | 6 | - | 6 | 6 | 6
| Building Name: | [5 empty] | SED Project Manager: | [12 empty] | Date Submitted:
Building Address:
| Type of Project: |  |  | New |  | Addition |  | Alterations | [6 empty] | Includes Site Purchase
| Scope of Work: (CSI No.): | [18 empty] | Estimated Cost:
| School Official Contact: |  |  |  | e-mail address: | [14 empty] | Telephone No.
| Architect or Engineer Contact: |  |  |  | e-mail address: | [14 empty] | Telephone No.
Indicate by checks in the boxes below which exhibits are included in this submission
|  | 1. | Scope of Proposed Project - Form FP-SC - One copy must be submitted for each project. If Type II, a copy of the Board of Education resolution noting the SEQRA determination, must be attached. If a Negative Declaration or Statement of Findings was issued by the district, copies must be submitted.
|  | 2. | SHPO Notification - If the project involves the creation of new space and/or ground disturbance, the
State Historic Preservation Office (SHPO) must be notified.
|  | 3. | Evaluation of Existing Building - Form FP-EEB – one copy (Not applicable for new buildings)
Fully completed - for each instructional building
Signature of Architect/Engineer (A/E)
Question #51 answered "yes", or letter from district stating how and when nonconforming items will be corrected.
|  | 4. | Application for Examination and Approval of Preliminary Plans - Form FP-P - one copy
Date of proper authorization
Source of funding
Estimated cost of project
Signatures and A/E Seal
FP-P-CL 05/2012 | [27 empty] | page 2 of 2
|  | 5. | Schematic, preliminary plans for the whole building showing how the building will be used at the end
of the project – one copy
Black or blue on white
Signature(s) A/E Seal(s) on each sheet
Plans at a scale which are clearly legible and must show all floors, including the basement, as well as corridors, stairs, ramps, smoke zones, door opening swings, and windows. Designate the square footage and use of each space, the gross square footage of the total building and clearly indicate the area encompassing new space versus the existing space
|  | 6. | Schematic, preliminary site plans – one copy
Black or blue on white
Signature(s) A/E Seal(s) on each sheet
Plans at a scale which are clearly legible and must show walks, roads, parking (including handicapped features), streams, slopes, site utilities, athletic/play fields, and outline building footprint
|  | 7. | Outline Specifications for all work – one copy - indicate at least the following:
Building Area, Fire Areas, Construction classification and Seismic design information
Exterior and interior wall, floor, ceiling, and roof materials
Hardware functions
Energy Code design criteria and building systems
Plumbing (supply & waste), Electrical (lighting incl. switching per Energy Code, communications, signal & detection systems), HVAC
Unique features of the building or systems
|  | 8. | Application for Examination and Approval of a School Site - Form FP-S - three copies
Submit if project includes acquisition of a new site or expansion of an existing site
Scale plan of site indicating property lines, rights of way, pavement, drainage, utilities, orientation, landscaping, etc
Site analysis in narrative form
|  | 9. | Instructional Space Review - Form ISR02 - one copy
Signed by Superintendent of Schools, District Superintendent, and Regional Special Ed Associate
Number of classrooms indicated on form agree with plans submitted

## Scope Proposed Project
FP-SC 05/2015 | [29 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Fax (518) 486-5918
www.p12.nysed.gov/facplan/
SCOPE OF PROPOSED PROJECT
Instructions: Complete and submit one (1) copy of this form as part of the preliminary or final submission to the Office of Facilities Planning, Room 1060 EBA, Albany, NY 12234, for EACH capital construction project requiring approval of the Commissioner of Education pursuant to Education Law, Section 408 and the New York State Uniform Fire Prevention and Building Code. Please print legibly or type responses. (This form may be duplicated but may not be altered in any way).
1. | District/BOCES: |  |  |  | 0 | [10 empty] | Date Submitted: |  |  |  |  | 0
2. | Building Name: |  |  |  | 0 | [10 empty] | County:
| Building Address: |  |  |  | 0
3. | Type of Project: |  |  |  |  | New Building | [6 empty] | Addition/Alteration | [6 empty] | Reconstruction | [7 empty] | Land Acquisition
4. | District/BOCES Contact Person:
| Title: | [14 empty] | Telephone:
5. | Project Manager: | [14 empty] | Telephone: |  |  |  | 518-474-3906
6. | 0 | 0 | - | 0 | 0 | - | 0 | 0 | - | 0 |  | 0 | - | 0 | - | 0 | 0 |  | 0 | - |  |  | 0 |  | 0 |  | 0
| (BEDS Code) | [12 empty] | (Facility Code) | [8 empty] | (Project #)
7. | Type of Project: (check all appropriate boxes) | [15 empty] | 8. |  | Project Affects: (check all appropriate boxes)
|  | Construction or acquisition of any facility (not | [14 empty] | Adirondack Park Agency - 9 NYCRR 570-588
|  | additions) | [14 empty] | Agricultural District - 1 NYCRR 371
|  | Expansion of existing facility by more than 10,000 sq. | [14 empty] | Coastal Management Area - 19 NYCRR 600
|  | ft. gross floor area | [14 empty] | Contiguous Public Recreation Area - 6 NYCRR 617
|  | Acquisitions of land | [14 empty] | Critical Environmental Area - 6 NYCRR 617
|  | Physical alteration of 5 or more acres | [14 empty] | Flood Plain - 6 NYCRR 500
|  | Structure more than 100 feet in height | [14 empty] | Historical Landmark - 9 NYCRR 426-428
|  | Involves a building 50 years old or older | [14 empty] | Wetlands - 6 NYCRR 660,662
|  | Located in an historic district | [14 empty] | None of the Above
Located in an archeologically sensitive zone
None of the Above
Indicate below PERMITS which may be required from other government agencies. Obtaining necessary permits is the responsibility of the Board of Education and is a condition of Commissioner's Approval of Plans & Specification. NYCRR refers to the Official Compilation of Codes, Rules, and Regulations of the State of New York: 1-Agriculture and Markets; 6 - Environmental Conservation; 9 - Parks, Recreation, and Historic Preservation; 10 - Health; 19 - State. The list below is for assistance and is not all-inclusive.
9.
|  | construction of air contamination source - 6 NYCRR 20 | [14 empty] | alteration of a stream - 6 NYCRR 608
|  | indirect source of air contamination - 6 NYCRR 203 | [14 empty] | alteration of tidal wetlands - 6 NYCRR 660
|  | permits for on-site sewage system - (SPDES) 6 | [14 empty] | alteration of fresh water wetlands - 6 NYCRR 662
|  | NYCRR 750 | [14 empty] | open burning - 6 NYCRR 215, 219, 222
|  | construction of on-site sewage system - 6 NYCRR 750 | [14 empty] | water well drilling - 10 NYCRR 5
|  | water well drilling, Nassau and Suffolk Counties - | [14 empty] | public water supply - 10 NYCRR 5
|  | 6 NYCRR 602 | [14 empty] | swimming pool construction - 10 NYCRR 6
|  | construction in flood plain - 6 NYCRR 500 | [14 empty] | DOT permits as necessary
other
10. | Has the SEQRA process been completed?
Name of Lead Agency:
Final Determination: (Choose One):
|  | a. | Type II - official copy of Board Resolution sent to SED
(date)
|  | b. | Type I - Negative Declaration or Statement of Findings sent to SED
(date)
|  | c. | Unlisted Action - Negative Declaration or Statement of Findings sent to SED
(date)
FP-SC 05/2015 | [28 empty] | page 2 of 2
11. |  | a. |  | Type of Facility: | [6 empty] | School |  |  |  | Bus Garage | [5 empty] | Other (specify):
If this facility is a school:
What grade levels are currently housed?
What grade levels will be housed when this project is finished?
What is the current enrollment of this building?
What is the projected enrollment for this building?
(Note: Using the actual enrollments for the current year as a starting point, project five years into the future for Kindergarten through Grade Six; eight years for Grades Seven and Eight; and ten years for Grades Nine through Twelve.)
|  | b. |  | Does this project involve a new building? | [10 empty] | Yes |  |  | No |  | If yes, what is the total proposed gross
square footage for the new building?
|  | c. |  | Does this project involve an addition to an existing building? | [17 empty] | Yes |  |  | No
What is the gross square footage of the existing building?
What is the gross square footage proposed for the new space?
What is the proposed gross square footage of the entire building?
What is the total square footage proposed for alterations?
What is the age of the building to be altered?
|  | d. |  | Does this project involve a purchase of additional site? | [16 empty] | Yes |  |  |  | No
[6 empty] | If yes, what is the size of the site to be purchased? | [17 empty] | acres
[6 empty] | How many of those acres are useable? | [13 empty] | acres
[6 empty] | Is the new site adjacent to the present site? | [14 empty] | Yes |  |  |  | No
[6 empty] | If no, how far away is the new site from the existing site? | [16 empty] | miles
|  | e. |  | Current site information:
[6 empty] | What is the size of the current site? | [14 empty] | acres
[6 empty] | Are all acres useable on the current site? | [12 empty] | Yes |  |  | No
[6 empty] | If no, how many acres of the current site are useable? | [19 empty] | acres
|  | f. |  | Provide a comprehensive and thorough narrative. It must relate to the work detailed in the plans and specifications. If this project involves capital improvement, indicate which trades are included in the work. If this project involves new construction, indicate the type and number of rooms planned. Attach additional sheets if necessary to include details of the capital construction work. This form, including any attachments, is the controlling document for approval of state aid, including aid for change orders, and it will be required with each change order submission. Refer to publication "State Building Aid for Public School Districts and BOCES" for generally aidable and non-aidable capital construction expenses.
12. |  | SIGNATURES
|  |  |  | President, Board of Education | [22 empty] | Date
|  |  |  | Superintendent of Schools | [22 empty] | Date
Yes
No

## Project Details
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Fax (518) 486-5918
www.p12.nysed.gov/facplan/
Detailed Project Description
To be submitted with Scope of Proposed Project form
Item | Description | Details | Estimated Cost | EXCEL Category (if applicable)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## FP-P Prelim. Plans Approval
FP-P 10/2011 | [20 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Fax (518) 486-5918
www.p12.nysed.gov/facplan/
APPLICATION FOR EXAMINATION AND APPROVAL OF PRELIMINARY PLANS
Name of District: | [10 empty] | County: | [7 empty] | SED Project Manager:
District Office Address:
Contact Person: | [13 empty] | Telephone Number:
Name or Desccriptive Title of Project:
Location of Project:
SED Project Control Number
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1. | Date of Authorization of Project:
(vote of noncity district, or City Board of Education resolution)
2. | Source of Funds
| a. | Bonds. BANs - allocated to |  |  | 0
this project. (B/BANS)
If part of a larger amount.
enter total below:
|  | 0 | [10 empty] | 3. | Engineering Consulting Services Retained:
| b. | Budgetary Appropriation |  |  | 0 | [8 empty] | a. Structural
|  | If part of total | [18 empty] | License No.
authorization enter total below:
|  | 0 | [11 empty] | b. HVAC
License No.
| c. | Capital Reserve (CR) |  |  | 0
|  | If part of a larger amount | [11 empty] | c. Plumbing
|  | enter total below: | [18 empty] | License No.
0
d. Electric
| d. | Other (O) |  |  | 0 | [15 empty] | License No.
If part of a larger amount
|  | enter total below: | [11 empty] | e.
License No.
| e. | Total Financing must |  |  | 0
|  | equal line t. on page 2 | [11 empty] | f.
|  | 0 | [18 empty] | License No.
[11 empty] | 4. | Signatures
Name of A/E Firm
[11 empty] | Signature - Architect or Engineer | [9 empty] | date
[11 empty] | Signature - President, Board of Education | [9 empty] | date
[11 empty] | Signature - School Superintendent | [9 empty] | date
| Seal of | [9 empty] | Signature - District Superintendent | [9 empty] | date
| Architect or Engineer | [9 empty] | (if applicable)
FP-P 10/2011 | [20 empty] | Page 2 of 2
5. | [10 empty] | Cost Estimates
New Buildings
Item | [19 empty] | and Additions | Alterations
a. | General Construction (exclusive of Site Work)................................................................................... | [18 empty] | 0 | 0
b. | Heating and Ventilating (exclusive of site work)................................................................................... | [18 empty] | 0 | 0
c. | Plumbing (exclusive of site work).................................................................................................................................................................... | [18 empty] | 0 | 0
d. | Electric (exclusive of site work).................................................................................................................................................................... | [18 empty] | 0 | 0
e. | Contract Reserve.................................................................................................................................................................... | [18 empty] | 0 | 0
f. | Other Costs | [18 empty] | 0 | 0
[20 empty] | 0 | 0
g. | TOTAL BUILDING COSTS (a-f inclusive)................................................................................... | [18 empty] | 0 | 0
h. | Architect's and/or engineer's fees.................................................................................................................................................................... | [18 empty] | 0 | 0
i. | Clerk of the works (salary).................................................................................................................................................................... | [18 empty] | 0 | 0
j. | Legal services....................................................................................................................................................................................................................................................... | [18 empty] | 0 | 0
k. | General administration costs.................................................................................................................................................................... | [18 empty] | 0 | 0
l. | Insurance during construction.................................................................................................................................................................... | [18 empty] | 0 | 0
m. | Site purchase price (No. of acres | [7 empty] | ) | [10 empty] | 0 | 0
n. | Site developement including roads, walks, playfields................................................................................... | [18 empty] | 0 | 0
o. | Utilities and services:
| 1. | Sewage...................................................................................................................................................................... | [17 empty] | 0 | 0
(site work)
| 2. | water, gas, electricity, telephone, fire alarm................................................................................... | [17 empty] | 0 | 0
p. | Furniture and equipment.................................................................................................................................................................. | [18 empty] | 0 | 0
q. | Incidental reserve.................................................................................................................................................................. | [18 empty] | 0 | 0
r. | TOTAL INCIDENTAL COSTS(h-q inclusive).................................................................................................................................................................. | [18 empty] | 0 | 0
s. | SUBTOTALS (g plus r respectively).................................................................................................................................................................. | [18 empty] | 0 | 0
t. | GRAND TOTAL of NEW BUILDING and ADDITIONS,
| and ALTERATIONS..................................................................................................................................................................... | [18 empty] | 0
Instructions: Prepare five (5) copies of this application. Send one (1) copy to the Office Facilities Planning together with two (2) copies of plans and specifications signed and sealed by the designing architect/engineer. Other copies are for the district's files, the district superintendent-if applicable, and the architect/engineer.
Note on F18: Insert your SED project control number ONE NUMBER PER BOX. Use the tab key to move between boxes.

## Eval of Exist Bldg
FP-EEB 05/2015 | [21 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Fax (518) 486-5918
www.p12.nysed.gov/facplan/
EVALUATION OF EXISTING BUILDING
| SED Project Control Number |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 8 digit district BEDS number | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
(Check appropriate boxes)
| 1. Project |  |  | 2. Grades: |  |  |  |  | 3. Building Name:
Address:
[6 empty] | (other-specify) |  |  | 4. Size of Site: |  |  |  |  | total acres, and |  |  |  | usable acres.
5. Name of District:
| 6. Building Construction Information ……………………………. | [6 empty] | Class A/Construction Type |  |  |  |  | Class B/Construction Type |  |  |  |  | Class C/Construction Type
[8 empty] | IA | IB | IIA | IIB |  | IIIA | IIIB |  | IV |  |  | VA | VB
Original Building date
Addition #1 date
Addition #2 date
| 7. Building floor levels | [17 empty] | Number of stories
| 8. a. Are stairways enclosed? | [16 empty] | b. If yes, do enclosure doors have magnetic hold-opens?
| 9. | There shall be at least two means of egress remote from each other, leading from each floor, including | [16 empty] | *C | NC | NA
basement......................................................................................................................................................................................................................................................................................................................................................................
| 10. | Dead-end corridor pockets shall not exceed a depth of 1-1/2 times the pocket width ...................................................................................................................................................................................
| 11. | A handrail shall be provided on at least one side of each stairway...................................................................................................................................................................................
| 12. | There shall be no storage under stairs or landings, or in combustible attic space...................................................................................................................................................................................
| 13. | Corridors and exit ways shall be kept clear of obstructions...................................................................................................................................................................................
| 14. | Security gates shall not be located where exits will be obstructed or unapprovable dead-end
conditions will be created...................................................................................................................................................................................
| 15. | Spaces of pupil occupancy over 500 square feet shall have two separate means of egress. The primary
exit is commonly the opening to the corridor. The second exit may be a door into a separate smoke
zone, a door directly to the exterior, or an emergency rescue window...................................................................................................................................................................................
| 16. | Required emergency rescue windows and related hardware shall facilitate egress and shall be
appropriately marked for identification...................................................................................................................................................................................
[9 empty] | Size of CLEAR opening of rescue windows: |  |  | high, | by |  |  | wide.
| 17. | Any point in a space of pupil occupancy shall not exceed 50 feet to an exit door (except Places of
Assembly)...................................................................................................................................................................................
| 18. | In spaces of pupil occupancy in open-planned areas, there shall be free circulation for exiting
within the open-planned area...................................................................................................................................................................................
| 19. | Enclosed courts of over 700 square feet shall have remote exits with appropriate exiting hardware...................................................................................................................................................................................
| 20. | Door hardware shall be a type which will permit the door to be opened from within the space
without the use of a key...................................................................................................................................................................................
| 21. | Exterior and interior doors in exit ways serving three or more spaces of pupil occupancy and from
places of assembly shall have panic hardware...................................................................................................................................................................................
| 22. | Exit doors shall not be locked, chained or rendered inoperable from the inside at any time...................................................................................................................................................................................
| 23. | A building having wood structural members or wood roof deck shall not have a place of assembly
above the first floor, unless a written exception has been granted by the Commissioner...................................................................................................................................................................................
*C – Conformance; NC – Nonconformance; NA – Not Applicable
FP-EEB 05/2015 | [21 empty] | page 2 of 2
| 24. | Doors into stair enclosures shall swing in the direction of travel, be self-closing, and any glazing | [16 empty] | *C | NC | NA
shall be appropriate safety glazing...................................................................................................................................................................................
| 25. | Fire extinguishers with an Underwriter's label suitable for the type of fire likely to occur shall
be provided in areas of fire hazard, and at each floor level so that no point in a corridor or stair
is over 75 feet to a corridor located extinguisher...................................................................................................................................................................................
| 26. | Two-hour fire rated floor, ceiling (where space above is occupied), and walls with 1-1/2 hour,
self-closing doors shall be provided at:
a. boiler, furnace and incinerator room; transformer vaults...................................................................................................................................................................................
b. refrigeration, electrical, and mechanical equipment rooms...................................................................................................................................................................................
c. storerooms for fuel, flammable liquids, and gasoline powered equipment...................................................................................................................................................................................
| 27. | Required fire doors shall be maintained closed, or on hold opens tied to the fire alarm system ....................................................................................................................................................
| 28. | Glazing within 48 inches of the floor in and adjacent to doors, and other glazed panels within 18 inches of the
floor shall be of safety glazing material, unless glazed areas are protected by grilles or railings…………………………………………………………
| 29. | Glazed doors and sidelights shall be marked in accordance with 12 NYCRR Part 47..........................................................................................................................................................................................................................................................
| 30. | Window cleaning provisions shall be in accordance with 12 NYCRR Part 21..........................................................................................................................................................................................................................................................
| 31. | Mechanical, heat-producing and cooling equipment, auxiliary apparatus and controls, and the
installation of same shall be operable and in good condition...................................................................................................................................................................................
| 32. | Unused ducts shall be sealed at each opening with fire resistive materials...................................................................................................................................................................................
| 33. | Electronic flame safeguard controls shall, upon flame failure, respond in 2 to 4 seconds to cut
off the fuel supply through the burner and the main fuel valve...................................................................................................................................................................................
| 34. | All primary controls for fuel burning equipment operate on a 120 volt, single phase, grounded circuit...................................................................................................................................................................................
| 35. | Fuel burning heating units shall not be used in any space of pupil occupancy...................................................................................................................................................................................
| 36. | Ventilation with fresh air shall be available to all spaces of occupancy................................................................................................................................................................................…
| 37. | Water supply and distribution systems shall be operable and in good condition...................................................................................................................................................................................
| 38. | Plumbing fixtures and sanitary systems shall be operable and in good condition...................................................................................................................................................................................
| 39. | Gas entering the building shall be low pressure, i.e., 1/2 psig or less...................................................................................................................................................................................
| 40. | Electrical equipment, fixtures, auxiliary apparatus and controls, and wiring systems, and
the installation of same, shall be operable and in good condition without recurring problems ...................................................................................................................................................................................
| 41. | Electrically operated partitions have safety controls in accordance with 155.25.……………………………..……
| 42. | Level of artificial lighting in teaching areas shall be a minimum of 30 foot candles, maintained...................................................................................................................................................................................
| 43. | Exit signs: |  | a. Buildings of 1 to 6 classrooms shall have exit signs ……………………………………………………………………………………………………………..
b. Buildings with more than 6 classrooms shall have exit lights…………………………………………..
c. Places of assembly shall have exit lights………………………………………………………………………
| 44. | Emergency lighting shall be provided in all places of assembly for over 100 occupants or over
1800 square feet and in all exit ways leading from such places. Emergency lighting complies with
Section 1029 of the Fire Code of NY State……………………………………………………………………………
| 45. | Buildings of 1 to 6 classrooms shall be equipped with an approved manual or a manually
operated electric fire alarm which is capable of sounding for such a period of time as
to assure evacuation of all occupants...................................................................................................................................................................................
| 46. | Buildings of 7 or more classrooms shall be equipped with an approved manually operated electric alarm
system, which may include automatic detection, which will continue to sound for at least 30 seconds
or until the tripped station is returned to normal...................................................................................................................................................................................
| 47. | A telephone shall be provided in all buildings having pupil occupancy...................................................................................................................................................................................
| 48. | Are fire escapes provided? | [7 empty] | If yes, what type?
| 49. | If yes, are fire escapes structurally sound and in good repair? ……………………… | [11 empty] | .
| 50. | Architect's general appraisal of building for: | [6 empty] | a. Physical Condition: ……
b. Safety: ………………...…
| 51. | Does this building now conform and/or will this project result in the building conforming with Part 155.7
|  | of the regulations? | [15 empty] | If no, provide a written explanation. Number of pages attached:
Print name:
Signature:
[8 empty] | Date: | [5 empty] | Telephone:
Seal of P. E. or R. A. licensed in New York State
Submit ONE COPY of this form with preliminary submission, if required, or with final submission for approval of plans and/or specifications. Each school building shall conform to the following items based on Part 155.7 of the Regulations of the Commissioner of Education. The board of education shall submit for consideration, a letter indicating positive corrective action on nonconforming items which will not be corrected by this work. Describe conditions as they now exist. Failure to answer ALL items will delay approval of the project.
Per Part 155.8 (e) (3) of the Regulations of the Commissioner of Education, a Certificate of Occupancy, a temporary certificate or a building permit may be denied or revoked for … violation of … health or safety standards, imposed by law or regulation, which indicate that a building is not suitable for occupancy or intended use.
Addition
Alteration
K-6
6-8
7-9
7-12
Basement
Ground Floor
First Floor
Second Floor
Yes
No
NA
Yes
No
yes
no
yes
no
yes
no
enclosed
open
steel
wood
good
good
fair
fair
poor
poor

## SHPO Cover Form
New York State Office of Parks, Recreation and Historic Preservation
Historic Preservation Field Services Bureau
Peebles Island Resource Center, PO Box 189, Waterford, NY 12188-0189 (Mail)
[5 empty] | Delaware Avenue, Cohoes 12047 (Delivery) | [10 empty] | (518) 237-8643
PROJECT REVIEW COVER FORM | [19 empty] | Rev. 5-05
Please complete this form and attach it to the top of any and all information submitted to this office for review.
Accurate and complete forms will assist this office in the timely processing and response to your request.
This information relates to a previously submitted project. | [13 empty] | If you have checked this box and noted the previous Project Review (PR) number assigned by this office you do not need to continue unless any of the required information has changed.
| PROJECT NUMBER | [6 empty] | PR
COUNTY
2. This is a new project. | [7 empty] | If you have checked this box you will need to complete ALL of the following information.
Project Name
Location
You MUST include street number, street name and/or County, State or Interstate route number if applicable.
City/Town/Village
List the correct municipality in which your project is being undertaken. If in a hamlet you must also provide the name of the town.
County
If your undertaking* covers multiple communities/counties pleast attach a list defining all municipalities/counties included.
TYPE OF REVIEW REQUIRED/REQUESTED (Please answer both questions)
A. | Does this action involve a permit approval or funding, now or ultimately from any other governmental agency?
|  | No |  |  |  | Yes
If Yes, list agency name(s) and permit(s)/approval(s)
| Agency Involved | [9 empty] | Type of permit/approval | [6 empty] | State | Federal
B. | Have you consulted the NYSHPO web site at **http://nysparks.state.ny.us
to determine the preliminary presence or absence of previously identified cultural
resources within or adjacent to the project area? If yes:
Was the project site wholly or partially included within an identified
archeologically sensitive area?
Does the project site invilve or is it substantially contiguous to a property listed or recommended
for listing in the NY State or National Registers of Historic Places?
CONTACT PERSON FOR PROJECT
| Name | [10 empty] | Title
Firm/Agency
| Address | [8 empty] | City |  |  |  |  | State |  | Zip
| Phone |  |  | ( ) |  |  | Fax |  | ( ) |  |  |  | E-Mail
**http://nysparks.state.ny.us then select HISTORIC PRESERVATION then select On Line Resources
The Historic Preservation Review Process in New York State
In order to insure that historic preservation is carefully considered in publicly-funded or permitted undertakings*, there are laws at each level of government that require projects to be reviewed for their potential impact/effect on historic properties. At the federal level, Section 106 of the National Historic Preservation Act of 1966 (NHPA) directs the review of federally funded, licensed or permitted projects. At the state level, Section 14.09 of the New York State Parks, Recreation and Historic Preservation Law of 1980 performs a comparable function. Local environmental review for municipalities is carried out under the State Environmental Quality Review Act (SEQRA) of 1978.
regulations on line at:
http://nysparks.state.ny.us then select HISTORIC PRESERVATION then select Environmental Review
Project review is conducted in two stages. First, the Field Services Bureau assesses affected properties to determine whether or not they are listed or eligible for listing in the New York State or National Registers of Historic Places. If so, it is deemed "historic" and worthy of protection and the second stage of review is undertaken. The project is reviewed to evaluate its impact on the properties significant materials and character. Where adverse effects are identified, alternatives are explored to avoid, or reduce project impacts; where this is unsuccessful, mitigation measures are developed and formal agreement documents are prepared stipulating these measures.
ALL PROJECTS SUBMITTED FOR REVIEW SHOULD INCLUDE THE
FOLLOWING MATERIAL(S).
Project Description
Attach a full description of the nature and extent of the work to be undertaken as part of this project. Relevant portions of the project applications or environmental statements may be submitted.
Maps Locating Project
Include a map locating the project in the community. The map must clearly show street and road names surrounding the project area as well as the location of all portions of the project. Appropriate maps include tax maps, Sanborn Insurance maps, and/or USGS quadrangle maps.
Photographs
Photographs may be black and white prints, color prints, or color laser/photo copies; standard (black and white) photocopies are NOT acceptable.
- |  |  | If the project involves rehabilitation, include photographs of the building(s)
involved. Label each exterior view to a site map and label all interior views.
- |  |  | If the project involves new construction, include photographs of the surrounding
area looking out from the project site. Include photographs of any buildings
(more than 50 years old) that are located on the project property or on adjoining
property.
*Undertaking is defined as an agency’s purchase, lease or sale of a property, assistance through grants, loans or guarantees, issuing of licenses, permits or approvals, and work performed pursuant to delegation or mandate.
YES
NO
YES
NO
YES
NO

## Site Reference Guide
10/2011 |  |  |  | page 1 of 1
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Fax (518) 486-5918
www.p12.nysed.gov/facplan/
SCHOOL SITE REFERENCE GUIDE
The site for a new school building or an addition must be approved by the Commissioner of Education prior to the approval of working drawings and specifications for the facility (Education Law, Section 408, Subdivision 3).
The publication School Site Standards. Selection Develooment (1976) is available from the Bureau of Facilities Planning. This publication will assist districts in making proper assessment of the several factors which influence selection of a school site, as well as development of the site which is selected. Unless otherwise approved by the Commissioner, a site must provide the following minimum, usable. acres:
• for elementary (grades K-6): 3 acre base, plus 1 additional acre for each 100 pupils or fraction thereof.
• for secondary (grades 7-12): 10 acre base, plus 1 additional acre for each 100 pupils or fraction thereof.
An Application for Examination and Approval of a School Site (fonn EFP..snl) must be submitted to the Bureau for consideration. This submittal should be made before a Draft Environmental Impact Statement is prepared pursuant to the State Environmental Quality Review Act --SEQR --(Reference Guide #A4, May 1990) so that the Bureau can determine if the site is approvable. However, actual approval wil1 not take place until the overall project has been properly authorized following completion of the SEQR process.
An important part of the Application for Examinatjon and Approval of a School Site is a site analysis. This is a narrative description of site, usually prepared by the architect/engineer who is involved with the total project. The site analysis must address the following concerns:
| 1. | A brief indication of other sites considered;
| 2. | The ranking of the selected site in relation to other sites considered and the factors which led to the selection decision;
| 3. | The educationally adaptability of the site, with consideration for siting of the building and development of the grounds for outdoor educational program and related activities, without excessive initial or development costs;
| 4. | Accessibility to the site for vehicles and pedestrians;
| 5. | Accessibility to the site for vehicles and pedestrians;
| 6. | Development which conserves natural resources and avoids environmental problems and insures that the site and facilities are consistent with, and contribute to, the school and community environments.

## Site Variance
10/2011 |  |  |  | page 1 of 1
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Fax (518) 486-5918
www.p12.nysed.gov/facplan/
SCHOOL SITE VARIANCE
Sites for the construction of a new or the enlargement of an existing school building must meet specific standards pursuant to the Regulations of the Commissioner of Education, Section 155.1(C). Unless otherwise approved by the Commissioner, elementary school sites shall be a three-acre base, plus one additional acre for every 100 pupils or fraction thereof. Secondary school sites shall be a ten-acre base, plus one additional acre for every 100 pupils or fraction thereof. In each case, acres means "useable acres". The site standards are generally not applied when the capital construction project consists only of reconstruction or alterations. However, when the alterations will result in increased student enrollment on the site or entirely different grade levels to be housed on the site, then these same standards may be applied.
When the capital construction project is a new instructional facility or an addition of any size to an existing instructional facility, the site standards apply. The Commissioner will not approve a new school building or an addition to an existing building that is on an inadequate, substandard site, except where a variance is granted in response to a written request supported by specific documentation.
In every case, staff of the Office of Facilities Planning will be attempting to achieve the best, most practical and most reasonably sized site as possible, taking into account local conditions, other limitations, and cost-effectiveness. Therefore, any request for a variance must be carefully and thoughtfully done so as to provide a logical justification for granting a variance. A request for a variance of site standards must include at least the following:
• Describe the community setting of the site (residential, commercial, rural, or combinations).
• State the size of the site in acres, and the number of useable acres.
• State the maximum student population(s) - both elementary and/or secondary - expected to be on the site.
• State the number of useable acres that the site is below standards.
• Describe the properties which bound the school site with references to the points of the compass (street, highway,
residential, commercial or undeveloped property, streams, etc.).
• State why the project is necessary at the particular site.
• What is the location of the site in relation to the students who will be served?
• Are other standard-sized sites available in the district?
• State what other alternatives were considered and why each was dismissed.
• Describe the availability of contiguous acreage with references to size, costs, possible condemnation, and any
public lands which might be used with a formal lease arrangement.
• Describe the availability of noncontiguous acreage with references to size, costs, crosswalk hazards, etc., and
if available, how it would be used.
• Indicate what positive steps will be taken if the variance were granted to assure an adequate outdoor physical
education program. For example, bussing to, and/or use of other locations; provision of additional indoor
physical education facilities; relocation of varsity interscholastic fields; parking areas offsite; and development
of physical education facilities.
In addition to the narrative request for a variance described above, enclose a map of the school district on 8-1/2" x 11" maximum sheet size, which shows the location of all district-owned facilities and another small scale plan of the site in question.
These site plans must show property lines, roadways, driveways, parking areas, physical education and athletic facilities,
location of buildings, adjacent land uses, topographical features and drainage patterns. All portions of the sites having greater
than 10 percent slope (1 : 10) must be crosshatched on the plan.

## Site Approval
FP-S 01/2017 | [21 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Fax (518) 486-5918
www.p12.nysed.gov/facplan/
APPLICATION FOR EXAMINATION and
APPROVAL of a SCHOOL SITE
Pursuant to Provisions of the Education Law, Regents Rules and Commissioner's Regulations, Submit THREE (3) Copies of this application to the Division of Educational Facilities Planning together with THREE (3) copies of a site analysis, (which must be attached to this form, see item 8) prepared by an architect or engineer, and THREE (3) copies of a site plan of the property, which must be incorporated in this form, see item 9.
Application is hereby made for approval of a school site for:
| SED Project Control Number |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 8 digit district BEDS number | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
(Check appropriate boxes)
1. Project | [5 empty] | 2. Grades: | [5 empty] | 3. Building:
on behalf of the
4.
the regularly constituted authority for
5. | [19 empty] | school district
No. |  |  | , | town(s) of
County of | [19 empty] | State of New York
Popular Name of district
SITE DESCRIPTION
Item
1. Name (Owner or other designation)
2. Location
3. Size of site (of this application): | [8 empty] | acres.
| a. If addition to existing site, size of total site (including this application) | [15 empty] | acres.
4. Number of pupils planned for on site: | [7 empty] | Present | [5 empty] | Ultimate
5. Purchase Price: |  |  |  | a. $ |  |  |  |  | total. |  | b. $ |  |  |  |  | per acre.
6. Is site within an existing: |  |  |  |  | a. water district? | [8 empty] | b. sewer district?
7. If not within existing water or sewer district, has site been checked by appropriate public health agency as satisfactory for water supply
and/or sewage disposal?
Sites must meet the requirements of the State Health Department for water supply and sewage disposal. Representatives of the Department should examine this site to determine whether water supply and sewage disposal facilities are feasible and can be made available. This should be done before funds are authorized for purchase of the site.
The site described in this application meets site requirements for approval of plans and specification of the project listed above.
|  |  | Date: | [8 empty] | Date:
|  |  | Reviewed By: | [8 empty] | Approved By:
|  |  |  | SED Project Manager | [8 empty] | Office of Facilities Planning
FP-S 01/2017 | [21 empty] | page 2 of 2
8. Site Analysis: |  |  |  |  | prepared by
An analysis of the site, on 8-1/2" x 11" paper, must be attached to this application. This analysis must include a brief indication of all other sites considered, the ranking of the selected site in relation to the other sites and the factors with led to the selection decision. Also include statements regarding: 1. educational adaptability of the site, 2. accessibility to the site for vehicles and pedestrians, 3. soil conditions, as shown by subsoil investigations, relating to bearing and drainage, 4. development costs, and 5. statements regarding conservation of natural resources and avoidance of environmental problems indicating that the development of the site and the planned facility are consistent with and contribute to the school and community environment.
9. Site Plan: A small scale plan of the site MUST be incorporated below. (glued-on plans are acceptable)
Show property lines, streets, rights of way, drainage, orientation, natural landscaping, relation and distance to existing water and sewer lines and relative elevations. Show location of gas transmission lines, electric power lines and towers, railroads, streams, etc. Also, show general location of school building, athletic fields, and any future buildings.
Signature:
[13 empty] | President of Board of Education | [7 empty] | Date
Signature:
[13 empty] | Superintendent (City, Village, District) | [7 empty] | Date
Administration Building
Bus Garage
Library
K-3
K-6
7-9
7-12
10-12
New Building
Alteration
Addition
Addition to present site
Board of Education
Board of Trustees
Sole Trustee
Central
Common
City
Union Free
Village
YES
NO
YES
NO
YES
NO
Architect
Engineer

## Applic for Apportionment
FP-AP 03/2013 | [24 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Fax (518) 486-5918
www.p12.nysed.gov/facplan/
APPLICATION FOR APPORTIONMENT OF BUILDING AID
Education Law, Section 3602(14)(a)
INSTRUCTIONS
Submit a copy of the FP-F form (Application for Examination and Approval of Final Plans and
Specifications) -or- Certificate of Approval -or- SA-4 (Notification of Building Projects).
| 1. | DISTRICT INFORMATION
School District Name:
| Superintendent: | [19 empty] | Telephone:
Email:
Supervisory District:
| 2. | PROJECT INFORMATION
|  | a. | Project Number: |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Project # | 0 | 0 | 0 | 0 | 0 | 0
|  | b. | Building Name: |  |  |  |  | Building Name:
|  | c. | Total Project Cost:
|  | d. | This project consists of: | [7 empty] | (Check all that apply)
|  | new building | [7 empty] | addition | [8 empty] | alteration
|  | e. | Description of project for which application is submitted:
(Use additional sheets if necessary. Label each additional sheet 2e.)
| 3. | PROJECT JUSTIFICATION | [10 empty] | [Section 3602, paragraph14(a)(2)]
|  | a. | If this application is based on “inadequacy or obsolescence of present facilities”,
explain. (Use additional sheets if necessary. Label each additional sheet 3a.)
FP-AP 03/2013 | [24 empty] | page 2 of 2
|  | b. | Explain a) how this project would be capable of substantial educational use by the reorganized district in case the reorganization under the existing plan of reorganization is effected, AND b) how this project will provide more efficient and more economical facilities in the reorganized school district. (Use additional sheets if necessary. Label each additional sheet 3b.)
| 4. | REORGANIZATION INFORMATION
|  | a. | List district(s) included in proposed combination for reorganization:
|  | b. | Has there been any formal study or planning relative to reorganization with the district(s)
|  |  | listed above or any other districts? | [9 empty] | Yes | [7 empty] | No
EXPLAIN
|  |  | Signature, President Board of Education | [20 empty] | Date
|  |  | Signature, Superintendent of Schools | [20 empty] | Date
FOR REORGANIZATION GROUP #1 ONLY (click here for list):
If your district is categorized Group #1 for reorganization, your BOCES Distrist Superintendent must sign below to certify the following:
|  |  |  | i) |  | I am aware the District is categorized Group #1 for reorganization; AND
|  |  |  | ii) |  | I am aware of the scope of work for the above-referenced project(s); AND
|  |  |  | iii) |  | In the event of a merger between the District and a neighboring District, it is anticipated the building(s) impacted by the project(s) will remain in use.
[6 empty] | Signature, BOCES District Superintendent | [16 empty] | Date
FOR SED USE ONLY:
Reorg Class
Approval:
[8 empty] | Signature | [14 empty] | Date
Note on C83: GROUP #1: ARKPORT CANASERAGA CORINTH DOBBS FERRY GENERAL BROWN GLENS FALLS GLENS FALLS COMMON HADLEY LUZERNE HASTINGS-ON-HUDSON KATONAH-LEWISBORO LYME MIDDLEBURGH NORTH SALEM PAVILION RAMAPO SCHOHARIE TUXEDO WYOMING